Accepted manuscript version

Journal of Chromatography A, Volume 1360, Pages 1 - 819 September 2014

DOI for the Published journal article (PJA) is 10.1016/j.chroma.2014.07.049

Molecularly imprinted polymer as in-line concentrator in capillary electrophoresis coupled with mass spectrometry for the determination of quinolones in bovine milk samples.

David Moreno-González†, Francisco J. Lara†, Laura Gámiz-Gracia and Ana M. García-Campaña*

Department of Analytical Chemistry, Faculty of Sciences, University of Granada, Av. Fuentenueva s/n, 18071 Granada, Spain

Abstract

In this work molecularly imprinted polymers have been evaluated as sorbent for the construction of an in-line solid phase extraction analyte concentrator (AC) in capillary electrophoresis coupling with mass spectrometry for the analysis of quinolones. The proposed method was used for determination of the eight regulated veterinary quinolones in bovine milk samples. Different parameters affecting the AC performance, such as sample pH, volume, and composition of the elution plug and injection time were studied. The proposed method is simple for the monitoring of these antibiotic residues in milk samples, allowing the direct injection of the samples with a minimum sample pretreatment, achieving limits of detection between 3.8 and 4.7 µg kg-1. Recoveries ranging from 70.0 to 102.3 % and relative standard deviations below 12.0 % were obtained.

Keywords

Quinolones; Capillary electrophoresis; In-line concentrator; Molecularly imprinted polymers, bovine milk samples

Corresponding author: Ana M. García-Campaña (amgarcia@ugr.es)

1. Introduction

Quinolones (Qns) are one of the classes of antibiotics most widely used in veterinary practice to treat bacterial infections of animals in livestock farming and bovine milk production, causing residues in foodstuffs [] that produce adverse reaction in humans, as allergic reactions or antibiotic resistance []. In this sense, European Governments are dedicating huge quantities of money in, advertising campaigns and scientific projects, to avoid them is use of antibiotics in both animals and humans. Therefore, to ensure food safety, European Union has set maximum residue limits (MRLs) of antibiotics in foodstuffs of animal origin by means of the Commission Regulation 37/2010 []. Eight Qns have been included in this regulation, named danofloxacin (DANO), sarafloxacin (SARA) and its metabolite difloxacin (DIFLO), enrofloxacin (ENRO) and its metabolite ciprofloxacin (CIPRO), flumequine (FLUME), marbofloxacin (MARBO) and oxolinic acid (OXO). In case of milk samples, MRL has not been established for SARA while DIFLO and OXO are forbidden in animals from which milk is produced for human consumption. For the rest of Qns, in the case of bovine milk, these MRLs are 30 µg kg-1 for DANO, 50 µg kg-1 for FLUME, 75 µg kg-1 for MARBO and 100 µg kg-1 for the sum of ENRO and its metabolite CIPRO. Consequently, very sensitive analytical methods to detect ultratrace levels of these compounds in milk are needed.

Several methods have been published for the determination of Qns in milk samples using mainly high performance liquid chromatography (HPLC)  or ultra high performance liquid chromatography (UHPLC) coupled with UV/vis detection [], fluorescence [,], chemiluminescence [] or mass spectrometry (MS) [,,]. Capillary electrophoresis (CE) coupled with UV/vis detection [,] fluorescence [] and MS [] has also been proposed as an alternative to chromatographic techniques to determine Qns in milk samples.

An interesting option to increase sensitive in CE was developed by Guzman et al. []. This option consists of in-line solid phase extraction (SPE) which is carried out using the so-called analyte concentrators (ACs) or preconcentrators [,]. Several reviews have described theoretical aspects and different modes for coupling SPE with CE [,]. In in-line SPE-CE mode, the SPE column is integrated in the CE capillary, which is different from an on-line concentrator approach where the SPE column is not integrated in the CE capillary but is a part of a separate system that is coupled to the CE separation capillary via an interface. In the in-line CE approach, the complete analysis can be performed with a minimum of sample-handling steps, limited risk of sample losses, and automation [19].This approach was applied in the monitoring of Qns in chicken muscle samples, employing MCX as sorbent  in the AC []. After the sample treatment by pressurized liquid extraction the final extract was injected into the in-line-SPE-CE-MS/MS system. Limits of detection (LOD) lower than 0.47 µg kg-1 was achieved with satisfactory precision.

Molecularly imprinted polymers (MIPs) are becoming a relevant alternative in sample treatment for improving sensitivity.  MIPs are synthetic materials able to selectively recognize a particular chemical in the presence of closely related interfering species, as they contain specific recognition sites with a shape and geometry of functional groups complementary to those present in the template molecule [,].Thus, the strong retention between the MIP and its target molecules makes it ideal for the selective extraction of compounds at trace levels, being of special interest when the sample is complex. Several reviews show the characteristics of these materials and their applications in analytical chemistry [,,,,].The application of molecular imprinted solid phase extraction (MISPE) previous to CE analysis was carried out in our research group for the determination of these antibiotics in bovine milk samples with satisfactory results [13]. The use of MIP as sorbent in an AC for CE analysis was first reported by Lara et al. who evaluated a commercial MIP sorbent for the determination of triazine herbicides in urine samples without any sample treatment []. Sensitivity was not as high as expected partially because of UV/Visible detection was used in this study.

In this work, we propose the developed of an AC using commercial MIPs as sorbent to propose a method for the in-line SPE-CE determination of the eight Qns of veterinary use ( MARBO, CIPRO, ENRO, DANO, DIFLO, SARA, OXO and FLUME), including those for which MRLs are established in bovine milk. In this case, tandem mass spectrometry (MS/MS) will be used as detection system in order to achieve the unequivocal identification of these residues, according to the EU regulation []. To the best of our knowledge, this is the first report about the use of MIPs as in-line concentrators in CE-MS/MS, demonstrating the potential of this methodology for the determination of these antibiotics in bovine milk samples.

2 Materials and methods

2.1 Chemicals

All chemicals and solvents were of analytical grade. N-hexane, methanol, ammonium hydroxide and trichloroacetic acid (TCA) were supplied by Panreac (Madrid, Spain). Isopropanol, formic acid, acetic acid, ammonium acetate and trifluoroacetic acid (TFA) were purchased from Merck (Darmstadt, Germany). DAN, SAR, and DIF were obtained from Riedel-de Haën (Seelze, Germany); FLU from Sigma (St. Louis, MO, USA); CIP, ENR, and OXO from Fluka (Buchs, Switzerland). MAR was kindly supplied by Vetoquinol S.A. (Madrid, Spain).Ultrapure water, purified with a Milli-Q Plus system (Millipore Bedford, MA, USA), was used.

Stock standard solutions (100 mg l-1) of each Qn were prepared by dissolving the appropriate amount of each analyte in H2O/ACN (80/20, v/v) (DIF, MAR, DAN, ENR and SAR,), in H2O/ACN (50/50, v/v) (CIP) and 100% of ACN (OXO and FLU) and were stored in the dark at 4 ºC. Under such conditions, they were stable for at least 1 month. A mixture of 0.1 mg l-1 of each Qn was prepared in 50 mM ammonium acetate at pH 5 and stored at 4ºC. The working solutions were prepared by dilution with ammonium acetate buffer.

MIP sorbent for the contruction of the AC was obtained from commercial SupelMIP Qns SPE Column (Supelco, Bellefonte, PA, USA), with an average particle size of 57 µm. A nylon syringe filters, 0.22 µm x 13 mm (Agela technologies, New York) were used for filtration of the sample extracts prior to injection into the in-line-MISPE-CE-MS/MS system.

2.2. Instrumentation

CE experiments were carried out with an HP3D CE instrument (Agilent Technologies, Waldbron, Germany). The coaxial sheath-liquid sprayer was supplied by Agilent Technologies. MS was performed using an Agilent 1100 Series LC/MSD SL mass spectrometer equipped with an ion trap (IT) analyzer. MS spectrometer was controlled by a PC running the Esquire software 4.1 from Bruker Daltonics (Bremen, Germany).

A pH-meter (Crison model pH 2000, Barcelona, Spain) with a resolution of ±0.01 pH unit, a centrifuge (Universal 320R from Hettich Zentrifugen, Tuttlingen, Germany) and a vortex-2 Genie (Scientific Industries, Bohemia, NY, USA) were also used.

2.3.Electrophoretic procedure

Separation was carried out in a bare fused-silica capillary of 130 cm total length x 50 µm id (360 µm od) from Polymicro Technologies (Phoenix, AZ, USA). Before injection the capillary was conditioned as follows: 1 N NH3 for 1 min at 7 bar, H2O for 1 min at 7 bar, and 50 mM ammonium acetate (without pH adjustment) for 1 min at 7 bar. Injections were made at the anodic end using a pressure of 2 bar for 15 min (ca. 22 µl using the Hagen–Poiseuille equation). The sample solvent was 50 mM ammonium acetate at pH 5. After the injection, the sample solvent was displaced of the capillary with the running buffer by applying 7 bar for 1 min. The analytes were eluted by injecting a plug of MeOH/H2O/NH3 (60:37:3 by volume), using a pressure of 50 mbar for 100 s (ca. 2.3% of the total capillary volume = 60 nl). Before applying the separation voltage, the elution plug was displaced of the AC with running buffer by applying 1 bar for 1 min in order to avoid undesirable interactions of the analytes with the retention sorbent. The electrophoretic separation was achieved with a voltage of 25 kV (normal mode) with an initial ramp of 1 min. The running buffer was an aqueous solution of 50 mM ammonium acetate adjusted to pH 9.1 with 5 N ammonium hydroxide. The temperature of the capillary was kept constant at 22.5 ºC. Under these conditions, the capillary current was about 40 μA. Before the first use, the capillary was conditioned by flushing with 1 M NaOH for 10 min, then with water for 5 min, and finally with the BGE solution for 20 min. A pressure of 7 bar was applied. At the beginning of each day, the capillary was prewashed with a N2 pressure of 7 bar for 4 min with 1 N NH3, 3 min with water, and 5 min with running buffer. After each run, the capillary was prewashed at 7 bar for 2 min with MeOH/NH3 (98:2 v/v) and 2 min with MeOH in order to avoid carryover between consecutive injections.

2.3 ESI-interface

The Agilent coaxial sheath-liquid sprayer was used for CZE-MS coupling (Agilent Technologies). The fused-capillary was mounted in a way that the tip just protruded from the surrounding steel needle ca. one-fourth of the capillary od. The sheath liquid consists of isopropanol/water/formic acid (50:49:1 by volume) and was delivered at a flow rate of 3 μL/ min by a KD Scientific 100 series syringe pump (KD Scientific Inc.; Holliston, MA, USA). The ESI voltage was set to -4000 V. Other electrospray parameters at optimum conditions were: nebulizer pressure at 4 psi, dry gas flow at 6 l/min, and dry gas temperature at 150 ºC.

2.4 MS/MS conditions

MS was performed using an Agilent 1100 Series LC/MSD SL mass spectrometer (Agilent Technologies) equipped with an IT analyzer. The mass spectrometer was operated in the positive ion mode and scanned at 150–410 m/z (target mass = 360 m/z, compound stability 100%) at 13 000 m/z per second. In MS/MS experiments, the trap parameters were selected in ion charge control mode using a target of 50 000, maximum accumulation time of 100 ms, and two averages per experiment. Fragmentation was carried out by means of CID with the helium present in the trap for 10 ms in multiple reaction monitoring (MRM) mode. No ramp was applied for the fragmentation energy [20]. MS/MS parameters are summarized in supplementary data.

2.5. Construction of the concentrator

In this paper we have constructed the concentrator by applying a scarcely used approach in spite of its simplicity and usefulness [20,28,,]  which avoids the use of frits by using particles with higher diameters than the internal diameter of the capillary . The first step in the construction of the concentrator was to cut 2 mm of bare fused-silica capillary of 150 µm id and 300 µm od. In order to obtain an optimum performance of the concentrator, a proper cut on both sides of the capillary should be carried out. The entire process of fabricating the concentrator was monitored under a microscope. This small piece of capillary was connected to a vacuum pump and the MIP sorbent particles were loaded. The concentrator was then introduced half way into a 1.5 cm piece of PTFE tubing (Omnifit, Cambridge, England) with an id of 0.3 mm. PTFE material can expand to fit the outer diameter of the bare fused-silica capillary. Then, a 8.5 cm piece of bare fused-silica capillary (50 µm id, 360 µm od) was coupled to one side of the MIP concentrator (inlet) and the CE separation capillary of 50 µm id and 360 µm od to the other side of the concentrator (outlet). Finally, the assembly was installed in a CE cartridge and checked for abnormal flow.

2.6. Sample pretreatment

Samples of 5 g of bovine whole milk (obtained from a local market) was accurately weighed in a falcon tube and spiked at different concentration levels using the working standard solutions. After spiking the samples, they were homogenized in vortex. Milk proteins were precipitated by adding 25 μl of acetic acid. The mixture was vortexed and centrifuged (9000 rpm, 10 min). Later on, 1 ml of milk sample supernatant was mixed with 2 ml of 50 mM ammonium acetate buffer (pH 5) and vortexed again. Following, the mixture was defatted with 3ml of n-hexane shaken for 5 min and then centrifuged at 9000 rpm for 5 min. Then, 0.5 ml of aqueous phase was recollected, and 1 ml of 50 mM ammonium acetate buffer (pH 5) was added. The final sample was filtered and injected into the in-line-MISPE-CE-MS/MS system.

3. Results and discussion

3.1 CE-MS conditions

The CE-MS method for the analysis of these eight Qns was previously developed in our group [14], so we started using these initial conditions. However, it was necessary to modify some parameters when an AC is mounted in a CE capillary. A serious problem when using an AC is the bubble formation due to the Joule heating effect. To avoid that, the temperature was decreased from 25 to 22.5 ºC and it was also necessary to reduce the nebulizer pressure from 10 to 4 psi in order to maintain a good resolution among the different compounds. Under these conditions, a stable current of about 40 μA was achieved.

3.2 Optimization of the in-line SPE-CE-MS/MS method

Several parameters were investigated to achieve the highest performance of the in-line MISPE concentrator for CE, including sample pH, injection pressure, injection time, composition and volume of the elution plug.

Injected solution pH is a key point since it can greatly affect the retention of the analytes on the MIP. The injected solution pH was studied at four pH values: 3, 5, 7, and 9 using a buffer composition of 50 mM containing formic acid, acetic acid and ammonia. When standard solutions containing 50 µg l-1 of each analyte were injected at 2 bar for 15 min, as can be seen in Fig 1a the highest peak area values were obtained with 50 mM of ammonium acetate at pH 5.0. This fact could be attributed to the maximum retention of the compounds on the MIP, as the interaction is the strongest when the Qns are in the neutral form.

One of the great advantages of the concentrators is that they allow the introduction of high volumes of sample. To increase the injected sample volume it would be preferable to increase the applied pressure instead of the injection time because the latter leads to longer total analysis time [28]. However, as can be observed in Fig 1b, when using MIPs, an increase in the applied pressure did not improve the sensitivity as expected. A suitable explanation could be probably related to the fact that the extraction by using MIPs is very specific compared to the partitioning process carried out when other sorbents are used. Therefore, the interactions seem to be only optimum at low flow rates. This result also demonstrates that the retention of the Qns at high flow rates is not complete and, therefore, that the use of a high pressure for injection could lead to erroneous or irreproducible results. Therefore, the injection time was optimized by using standard solutions containing 50 µg l-1 of each Qn, injected at 2 bar from 1 to 20 min. As can be observed in figure 1c, saturation was not observed even when the sample was injected for 20 min, which indicates the high retention capacity of the MIP even with the small amount used for the construction of the AC. For further experiments, an injection time of 15 min was selected as a compromise between sensitivity and analysis time.

A relevant property is the fact that this MIP-AC can be used in alkaline medium which makes easier the conditioning of the capillary with alkaline solutions without removing the AC, so MIP sorbent is fully compatible with the optimized CE separation of Qns since the elution step requires an alkaline medium and the electrophoretic buffer has also an alkaline pH. Taking this into account, the optimization of both composition and volume of the elution plug were carried out. Initial experiments were performed using an elution plug of MeOH/H2O/NH3 (50:47:3), injected at 50 mbar for 100 s. This initial composition of the elution plug was selected according to a previous work [13] about the off-line use of MISPE for the determination of Qns in milk samples. In order to optimize the composition of this elution plug, the percentage of NH3 was kept constant and the percentage of MeOH was modified from 50 to 80%.  As a result of this optimization, it was revealed that the use of a percentage of MeOH higher than 50 % was necessary to obtain a satisfactory elution of all Qns (Fig 1d). Finally, an elution plug with a composition of MeOH/H2O/NH3 (60:37:3) was selected as optimum value, which was not a very high content of organic solvent, permitting the use of a larger elution plug without any perturbation of the current stability. Finally, the elution plug length was studied by modifying the injection time from 10 to 150 s.  According to Fig 1e, the maximum peak area for all Qns was achieved when 125 s of elution plug was injected.

3.3 Optimization of sample pretreatment

In order to get acceptable recoveries it is necessary to precipitate milk proteins prior to the in-line-MISPE-CE-MS/MS method. The addition of 25 µl of different acids such as acetic acid, TFA and TCA was tested on 5ml of milk sample.  In all cases, the protein precipitation was satisfactory and after centrifugation, the pH of the supernatant was measured. When strong acids such as TFA and TCA were added to precipitate proteins, the pH was around 2. This involved an extra step in order to adjust the pH to 5 which was the optimum value for the injected solution (see previous section). However, the use of acetic acid gave a pH value of 5, so acetic acid was selected because pH adjustment was not required.

The sample had to be defatted with 3ml of hexane []. High irreproducibility in the migration times of the analytes was observed when milk samples were not defatted. This fact could be attributed to the adsorption of fatty components of the sample onto the capillary wall modifying the electroosmotic flow.

3.4 Evaluation of the in-line MISPE-CE-MS/MS method

In order to test the suitability of the method for the determination of Qns in milk, it was characterized in terms of linear dynamic ranges, limits of detection (LODs) and limits of quantification (LOQs), matrix effect (ME), precision, trueness and selectivity.

3.4.1. Calibration curves and analytical performance characteristics

Matrix-matched calibration curves were established (5, 10, 25, 50, 100 and 200 µg kg-1 for each Qn) in milk. Two replicates were prepared at each concentration level and analyzed in triplicate. In order to achieve unambiguous identification of the Qns, it was necessary to obtain the minimum number of product ions usually established by the legislation for the quantification of antibiotics. In the case of MS/MS analysis, 2 or more product ions are required. As can be observed in supplementary data, between 2 and 5 product ions were obtained for all Qns.

The peak area of the main product ion was considered as a function of the analyte concentration in the sample. A blank sample was also processed, and none of the Qns were detected.

LODs and LOQs were calculated as 3 × S/N and 10 × S/N, respectively. All the LOQs were below the MRL established in the European Directives for milk samples [3]. Statistics and performance characteristics of the method are shown in Table 1.

Table 2 shows a comparison of the LODs and LOQs obtained in the proposed in-line-MISPE-CE-MS/MS method with those obtained from previous papers using UHPLC, LC or CE for the determination of these analytes in milk samples with different off-line extraction methods. The LODs of the proposed method were lower than those obtained with HPLC-UV [4], CE-MS/MS [14] and CE-UV [12] and similar to those achieved with HPLC-FL [5] or CE-FL [13]. When the proposed method is compared with UHPLC-MS/MS [9] the LODs were slightly higher. However the new in-line-MISPE-CE-MS/MS method can be performed with minimum sample-handling compared with the other methods. Thus, the sample throughput is increased.

| Table 2. LODs and LOQs obtained in the determination of Qns in milk samples employing different techniques |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | UHPLC–MS/MS [9] | HPLC-FL [5] | HPLC-UV [4] | CE-MS/MS [14] | CE-UV [12] | CE-FL [13] | Present work |
| Sample treatment | SPE (Oasis HLB) | MISPE | Liquid phase microextraction | SPE (Oasis MAX – Oasis HLB) | Magnetic SPE | MISPE | In-line-MISPE-CE |
| LOD | 0.04-0.54 µg l-1 | 0.5-3.4 µg kg-1 | 10-50µg kg-1 | 4-6µg l-1 | 9-12 μg l-​1 | 0.17-0.98µg kg-1 | 1.0-1.4 µg kg-1 |
| LOQ | 0.14–1.80 µg l-1 | 1.9-11.7µg kg-1 |  | 18-24 µg l-1 |  | 0.55-3.23µg kg-1 | 3.2-4.7 µg kg-1 |

Matrix effect (ME) is normally the combined effect on the measurement of all components of the sample other than the analytes []. The ME can be attributed to many sources, and normally in MS is due to the ion suppression/enhancement []. This factor has been evaluated for each Qn by comparison of the slopes of matrix-matched calibration curves with the slopes of standard solution calibration curves at the same final concentrations [].

ME %=Slope of matrix matched calibrationSlope of standard solution calibration-1X 100

Table 1 shows the ME range values for all Qns analyzed by the proposed method. As can be observed, MEs for all analytes were ranged from -24 to -61. It can be concluded that the matrix produces systematic errors, so the use the standard calibration curve for the quantification of Qns in milk samples is not possible, being recommended to quantify by applying the matrix matched calibration curve.

3.4.2.	Precision study

The precision of the method was evaluated in terms of repeatability (intraday precision) and intermediate precision (interday precision) by application of the proposed in-line-MISPE-CE-MS/MS method to milk samples spiked at three different concentration levels of Qns (5, 25 and 100 µg kg-1). Repeatability was evaluated over two experimental replicates injected in triplicate on the same day, under the same conditions. Intermediate precision was evaluated with a similar procedure, but the samples were analyzed in five consecutive days. The results, expressed as %RSD of the peak areas, are summarized in Table 3. Satisfactory precision, lower than 15.0 %, was obtained in all cases.

3.4.3.	Trueness assessment

In order to test the efficiency of the sample treatment prior to the in-line concentration, recovery studies at three concentration levels (5, 25 and 100 µg kg-1) were carried out. Two replicates were prepared at each concentration level. Absolute recoveries were calculated by comparing peak areas of milk samples spiked before the sample treatment with peak areas of milk samples spiked after the sample treatment. Recoveries between 70.0 and 102.3 % were obtained in all cases with acceptable RSD. The results are shown in Table 4.

Conclusions

A new in-line-MISPE-CE-MS/MS strategy for the determination of eight Qns in bovine milk samples has been developed, showing for the first time the usefulness of MIPs as a powerful tool for in-line extraction, preconcentration and sample cleanup. The monitoring of these antibiotic residues in milk samples using the proposed method is simple and allows the direct injection of samples with a minimum sample pretreatment.  The present work shows that the in-line coupling of MISPE with CE MS/MS can be a very useful methodology for solving current real problems such as the selective and sensitive multiresidue determination and unambiguous identification of Qns antibiotics of veterinary use in milk. LODs of the proposed method were below MRLs established in the EU regulation and even lower to other methods for which the use of complex sample treatments are mandatory.

Recoveries higher than 70 % and low RSD values were obtained when the constructed MIP in-line concentrator was applied in CE-MS/MS. This study shows interesting perspectives of the application of this in-line concentrator for the monitoring of these compounds in other samples, such as different foods, environmental and biological matrixes.

References

[] I. Kempf, F. Gesbert, M. Guittet, G. Bennejean, A.C. Cooper, Res. Vet. Sci. 53 (1992) 257.

[] G. A. Jacoby, Clin. Infect.Dis.41 (2005) 120.

[] Commission Regulation (UE) No 37/2010, Off. J.Commun. (2010) L 15.

[] D. Han, M. Tian, K. H. Row, Intern. J. Environ. Anal. Chem. 92 (2012) 1036.

[] M. Lombardo-Agüí, L. Gámiz-Gracia, C. Cruces-Blanco, A. M. García-Campaña, J. Chromatogr. A 1218 (2011) 4966.

[] N. Phonkeng, R.Burakham,Chromatographia 75 (2012) 233.

[] Y. Li, Z. Zhang, J. Li, H. Li, Y. Chen, Z. Liu, Talanta84 (2011) 690.

[] A. Freitas, J. Barbosa, F. Ramos, From Int. Dairy J.33 (2013) 38.

[] A.V. Herrera-Herrera, J. Hernández-Borges, M.A. Rodríguez-Delgado, M. Herrero, A. Cifuentes, J. Chromatogr. A 1218 (2011) 7608.

[] A. Junza, R.  Amatya, D. Barron, J. Barbosa, J. Chromatogr. B 879 (2011) 2601.

[] H. Sun, W. Zhao, P. Pan,Chromatographia68 (2008) 425.

[] I.S. Ibarra, J.A. Rodríguez, M.E. Páez-Hernández, E. M. Santos, J.M. Miranda,Electrophoresis 33 (2012) 2041.

[] M. Lombardo-Agüí, A.M. García-Campaña, L. Gámiz-Gracia, C. Cruces-Blanco, J. Chromatogr. A 1217 (2010) 2237.

[] F.J. Lara, A.M. García-Campaña, F. Alés-Barrero, J.M. Bosque-Sendra, L.E. García-Ayuso, Anal. Chem. 78 (2006) 7665.

[] N.A. Guzman, M.A. Trebilcock, J.P. Advis, J. Liq. Chromatogr. 14 (1991) 997.

[] P. Puig, F. Borrull, M. Calull, C. Aguilar, Anal. Chim. Acta 616 (2008) 1.

[]] L. Saavedra, C. Barbas, J. Biochem. Biophys. Methods 70 (2007) 289.

[] F.W.A. Tempels, W.J.M. Underberg, G.W. Somsen, G.J. de Jong, Electrophoresis 29 (2008) 108.

[] R. Ramautar, G. W. Somsen, G. J. de Jong, Electrophoresis 35 (2014) 128.

[] F.J. Lara, A.M. García-Campaña, F. Alés-Barrero, J.M. Bosque-Sendra, Electrophoresis 29 (2008) 2117.

[] J.L. Urraca, M. Castellari, C.A. Barrios, M.C. Moreno-Bondi, J. Chromatogr. A         http://dx.doi.org/10.1016/j.chroma.2014.03.045

[] K. Haupt (Ed.), Molecular Imprinting, Springer, Heidelberg, Germany, 2012.

[] J.O. Mahony, K. Nolan, M.R. Smyth, B. Mizaikoff, Anal. Chim. Acta 534 (2005) 31.

[] E. Caro, R.M. Marcé, F. Borrull, P.A.G. Cormack, D.C. Sherrington, Trends Anal. Chem. 25 (2006) 143

[] C. Zheng, Y.P. Huang, Z.S. Liu, J. Sep. Sci. 34 (2011) 1988.

[] Q. Sun, Z. Xu, L. Zhang, L.  Xu, J. Zhou, Adv. Mater. Res. 415 (2012) 1799.

[] P. Cervini, E.T.G.Cavalheiro, Anal.Lett. 45 (2012) 297.

[] F. J. Lara, F. Lynen, P. Sandra, A.M. García-Campaña, F. Alés-Barrero, Electrophoresis 29 (2008) 3834.

[] Commision Decision 2002/657/EEC, Off. J. Eur. Commun. (2002) L221, 23.

[] F.J. Lara, A. M. García-Campaña, C. Neusüss, F. Alés-Barrero, J. Chromatogr. A  1216 (2009) 3372.

[] L. Saavedra, N. Maeso, A. Cifuentes, C. Barbas, J. Pharm. Biomed. Anal. 44 (2007) 471.

[] Y. Fan, X. Gan, S. Li, W. Qin, Electrophoresis 28 (2007) 4101.

[] A.D. McNaught, A. Wilkinson IUPAC Compendium of Chemical Terminology, The Gold Book, second ed. Blackwell Science Ltd, 1997 available from: http://old.iupac.org/goldbook/M03759.pdf (accessed in: 04.19.2014).

[] A. Furey, M. Moriarty, V. Bane, B. Kinsella, M. Lehane, Ion suppression; A critical review on causes, evaluation, prevention and applications, Talanta 115 (2013) 104-122.

[] B.K. Matuszewski, M.L. Constanzer, C.M. Chavez-Eng, Strategies for the Assessment of Matrix Effect in Quantitative Bioanalytical Methods Based on HPLC-MS/MS, Anal. Chem. 75 (2003) 3019-3030.

Figure caption

Figure 1.Optimization of the in-line MISPE process for the CE determination of the studied Qns. Standard solution mixture containing 50 µg kg-1 of each Qns: (a) optimization of the sample pH; (b) optimization of the injection pressure; (c) optimization of the injection time; (d) optimization of elution plug (MeOH/ H20/ NH3; v/v/v) and (e) optimization of the elution time.

Figure 2. In-line MISPE-CE-MS/MS electropherogram under optimum conditions obtained after treating milk samples spiked at 10 µg kg-1.