Accepted manuscript version

Journal of Chromatography A volume 1315, Pages 1-7 November 2013

DOI for the Published journal article (PJA) is 10.1016/j.chroma.2013.09.028

Ultrasound-assisted surfactant-enhanced emulsification microextraction for the determination of carbamates in wines by UHPLC-MS/MS

David Moreno-González, José F. Huertas-Pérez; Ana M. García-Campaña, Laura Gámiz-Gracia*,

Department of Analytical Chemistry, Faculty of Sciences, University of Granada, Campus Fuentenueva, E-18071 Granada, Spain

* Corresponding author:

Department of Analytical Chemistry, Faculty of Sciences,

University of Granada,

Av. Fuentenueva s/n,

18071 Granada, Spain

e-mail: lgamiz@ugr.es

Abstract

In this work a new sensitive multiresidue ultra-high performance liquid chromatography-tandem mass spectrometry (UHPLC-MS/MS) method has been developed for the detection, confirmation and quantification of twenty five carbamates in wine samples. The separation was achieved in 5.5 min, using a Zorbax Eclipse plus RRHD C18 column (50 mm × 2.1 mm, 1.8 µm), with a mobile phase of water and methanol, both of them with 0.01% formic acid. The analytes were detected in positive mode with multiple reaction monitoring mode applying fragmentation conditions previously optimized in order to obtain a high sensitivity. Ultrasound-assisted surfactant-enhanced emulsification microextraction, using a low-density extraction solvent has been optimized for the satisfactory extraction of carbamates and clean-up of extracts from different types of wine. The matrix effect was evaluated in order to know the ion suppression effect, showing that the proposed procedure provides very clean extracts. Under optimum conditions, recoveries for fortified samples were ranged from 74 to 102%, with relative standard deviations lower than 6%. The limits of quantification ranged from 0.15 to 0.92 µg l-1, showing the high sensitivity of this fast and simple method and its compliance with current requirements of the European regulations.

Highlights

A UHPLC–MS/MS method is proposed for determination of 25 carbamates in different wines.

In order to obtain a clean extracts in wine simple, a new sample treatment based on UASEME has been developed.

LOQs are below maximum residue levels allowed by EU in the case of grape wines.

The proposed method could be good alternative for multi-carbamate determination in in wine samples.

Keywords

Carbamates, UASEME, UHPLC–MS/MS, wine.

1. INTRODUCTION

Carbamate (CRB) pesticides were introduced in the early 1950s and  are currently widely used as insecticides or fungicides []. They are derived from carbamic acid. Their main characteristic is that they are acetylcholinesterase inhibitors, and allow acetylcholine to build up resulting in health effects such as, headaches, vomiting, abdominal cramps, uncontrolled urination or defecation, and even a comatose state [,].CRB are known to be used on a broad spectrum of crops, including vineyards [].

On the other hand, pesticide content in different foods and feeds (including wine grapes) is controlled by European Union (EU), which has established a maximum residue level (MRL) of 10 μg kg-1 as a default value for those matrices not included in the regulation (as wine) [,]. Moreover, since 2003 the EC’s Rapid Alert System for Food and Feed (RASFF) has regularly alerted member States to the problems with pesticide residues in grapes. In response to these problems the Secretariat publishes results for grape monitoring as part of its continuous reporting every year. Since then, RASFF has informed a remarkable number of cases of pesticide residue contamination in grapes, including CRBs as methomyl, carbendazim, and oxamyl among others [].

According to the International Organization of Vine and Wine, 241.9 Mhl of wine are consumed annually all over the world []. Therefore, control of pesticides content in wine is a matter of concern, since transference of part of these contaminant from grapes into the final product may occur during the production procedure.

Several methods have been published for the determination of pesticides, including CRBs in wine, using mainly GC-MS [,,] or LC-MS [,,]. UHPLC is a good alternative to conventional HPLC, due to its advantages associated with the use stationary phase particles smaller than 2.0 µm,, which allows an increased efficiency with a shortened analysis time. UHPLC provides higher peak capacity, greater resolution, increased sensitivity and a higher speed of analysis and it is recommended especially to reduce analysis time and sample preparation [,] in combination with MS/MS.

Concerning sample treatment, several methods have been developed for the determination of CRBs in wines, mainly SPE [10,], and LLE [15]. In recent years, different strategies have been proposed for simplifying sample treatment and preconcentration in pesticide residue analysis, including QuEChERS [7,9], cloud point extraction [], membrane-assisted solvent extraction [11], solid phase microextraction [] and dispersive liquid liquid microextraction (DLLME) [].

Another microextraction technique related with DLLME, named ultrasound-assisted emulsification microextraction (USAEME) was developed by Regueiro et al. [,]. In this methodology, a microvolume of extraction solvent is dispersed into an aqueous sample solution without any disperser and exposed to ultrasound irradiation. However, it was observed that the extraction time in USAEME was quite long, because the mass-transfer efficiency between sample and extraction organic solvent is slower than in DLLME. Moreover, the long ultrasound time required could accelerate the degradation of the analytes []. Lately, Wu et al. [] and Vichapong and Burakham [] showed that the use of surfactants above their critic micellar concentration (CMC) as emulsifier could enhance the dispersion of water-immiscible phase into aqueous phase. This methodology has been named ultrasound-assisted surfactant-enhanced emulsification microextraction (UASEME). In the UASEME methodology, the combination of ultrasound and surfactant allows shorter extraction times than USAEME.

In this work, the combination of UHPLC-MS/MS as separation and detection technique and UASEME as sample treatment, has been proposed for the simultaneous determination of twenty five CRBs in different wine varieties. Taking into account the study of the European Food Safety Authority (EFSA), which showed the risk associated with the presence of metabolite pesticide residues in the diet [], some of these metabolites, scarcely studied, have been included in this study. UHPLC-MS/MS parameters were optimized in order to obtain a good separation and good sensitivity in the shortest possible time, while UASEME was optimized by means of an experimental design. The method was applied to different types of wine samples achieving LOQs below the default MRL (established for samples which are not regulated) and MRLs specified for wine grapes.

2. Experimental

2.1. Reagents and materials

Water, methanol (MeOH), and acetonitrile (ACN) (LC-MS Chromasolv grade) were supplied from Fluka Analytical (Steinheim, Germany). Formic acid and 2-butanone were obtained from Sigma-Aldrich (ST. Louis, MO, USA) and acetic acid was supplied from Merck (Darmstadt, Germany).

For sample treatment, tween 80, triton X-114, NaCl and MgSO4 were obtained from Panreac-Química (Barcelona, Spain). Toluene, tetrahydrofuran (THF) and (NH4)2SO4 were supplied by VWR (West Chester, PA, USA). Triton X-100 was obtained from Riedel-de-Haën (Hanover, Germany).

Pestanal grade analytical standards of asulam (ASL), aldicarb-sulfoxide (ALDSFX), aldicarb-sulfone (ALDSFN), oxamyl (OX), methomyl (MTY), ethiofencarb-sulfone (ETHSFN), pirimicarb-desmethyl (PIRDES), ethiofencarb-sulfoxide (ETHSFX), methiocarb sulfoxide (MTHSFX), carbofuran-3-hidroxy (3-CF), cymoxanil (CY), aldicarb (ALD), metolcarb (METOL), propoxur (PX), carbofuran (CF), carbaryl (CAR), ethiofencarb (ETH), thiodicarb (TH), isoprocarb (ISO), fenobucarb (FEN), diethofencarb (DETH), methiocarb (MTH), promecarb (PR), napropamid (NP) and benthiocarb BTH, were supplied by Fluka. Individual stock standard solutions of each compound were prepared by dissolving accurately weighed amounts in MeOH and stored in the dark at 4 ºC. They were stable for at least 4 months. Working standard solutions containing all the CRBs were freshly prepared by proper dilution of the stock standard solutions with MeOH.

Pipette tips (5 ml) were supplied by Brand GmbH (Wertheim, Germany). Acrodisc 13-mm syringe filters with 0.2-µm nylon membrane (Pall Corp., MI, USA) were used for filtration of sample extracts prior to the injection in the UHPLC system.

2.2. Instrumentation

Separation was performed on an Agilent 1290 Infinity LC from Agilent Technologies (Waldbron, Germany). The mass-spectrometer measurements were performed on a triple quadrupole (QqQ) mass spectrometer API 3200 (Applied Biosystems, Darmstadt, Germany) with electrospray ionization (ESI). The instrument data were collected using the Analyst® Software version 1.5 with Schedule MRMTM Algorithm (ABSCIEX). A C18 column (Zorbax Eclipse Plus RRHD 50 mm × 2.1 mm, 1.8 µm) was supplied by Agilent Technologies.

StatGraphics Plus Software 5.1 (Statistical Graphics Rockville; MD, USA) was used to generate the experimental designs and data processing.

An ultrasonic bath (USS-300 model; VWR) was used for UASEME sample treatment. A pH-meter (Crison model pH 2000; Barcelona, Spain) with a resolution of ±0.01 pH unit, a centrifuge (Universal 320 model from Hettich; Leipzig, Germany), a nitrogen evaporator (System EVA-EC from VLM GmbH, Bielefeld, Germany) and a vortex (Genie 2 model from Scientific Industries; Bohemia, NY, USA) were also used.

2.3. Chromatographic procedure

UHPLC separations were performed in a C18 column using a mobile phase consisting of 0.01% aqueous formic acid solution (solvent A) and MeOH with the same percentage of acid (solvent B) at a flow rate of 0.5 ml min-1. The gradient profile started at 5% B; 20% B from 0.7 to 1.2 min; then 50% B from 2.5 to 3 min; 95% B from 6.5 to 7.0 min; and finally in order to come back to the initial conditions, 5% B at 7.5 min, equilibrating for 3 min. Under optimum conditions,. the run time for each injection was 9.5 min, and all analytes were eluted in 6 min The temperature of the column was 25 ºC and the injection volume was 10 µl. The mass-spectrometer was working with ESI in positive mode under the MRM conditions shown in supplementary data. The ionization source parameters were: source temperature 400 ºC; curtain gas (nitrogen) 30 psi, ion spray voltage -5000 V; and GAS 1 and GAS 2 (both of them nitrogen) were set at 50 psi.

2.4. UASEME procedure

Aliquots of 1 ml of wine were diluted with 3 ml of MgSO4 solution (30% w/v). Then, the obtained solution was placed in a 5-ml pipette tip (extraction vessel). A mixture of 1150 µl of 2-butanone as extraction solvent, and 333 µl of 1.8 mM triton X-114 as emulsifier (giving a final concentration of triton X-114 in sample solution of 0.15 mM) was injected into the sample tube. The extraction vessel was closed and it was immersed into an ultrasonic water bath for extraction (50 kHz of ultrasound frequency and 200 W for 5 min at 25 ºC, to prevent the degradation of CRBs). Then, it was centrifuged for 5 min at 2000 rpm; the upper phase was removed using a syringe and collected in a glass vial. The 2-butanone was evaporated under nitrogen stream until dryness. The final residue was re-dissolved with 500 µl of sample solvent (H2O:MeOH, 80:20), shaken by vortex (2 min), filtered (Acrodisc 13-mm) and injected into the UHPLC-MS/MS system. A schematic diagram of the sample preparation procedure is shown in Fig. 1. Following this treatment, sample throughput was approximately 16 samples per hour, obtaining a preconcentration factor of 2.

3. Results and discussion

3.1. Optimization of MS/MS detection and chromatographic separation

For each individual CRB, the mass spectrometer parameters were optimized to provide the best responses for quantification. In order to get high sensitivity, a standard solution of 1 mg l-1 in 0.1 % aqueous formic acid solution:MeOH (50:50, v/v) of each analyte was individually infused directly into the mass spectrometer. All compounds were tested using ESI positive/negative mode. As it was expected from previous data [10,11,13,14] ESI operating in positive mode showed the best results in term of sensitivity. During the infusion, the Declustering Potential (DP), Entrance Potential (EP), Collision Cell Entrance potential (CEP), Collision Energy (CEN) and Collision Exit Potential (CXP) were optimized for each compound in order to obtain the maximum sensitivity (see results in supplementary data).

Each compound was characterized by its retention time and by two precursor-product ion transitions. The most intense product ion (Q) was used for quantification whereas the second one (I) was used to complete the identification (see selected ions in Supplementary data). The target scan time established for each transition was 0.2 s. Under these experimental conditions protonated molecules [M+H]+ were observed for all the compounds except OX and ALD. In the case of OX, ammonium adduct was obtained as majority precursor ion. Moreover, in the case of ALD [M+H]+ ion was not observed, while the fragment corresponding to [M+H-75]+ had an intensity strong enough to be used for quantification purposes, in agreement to literature [].

Concerning the chromatographic conditions, aqueous standard solutions of CRBs were used during the optimization of chromatographic separation. According to previous papers [10,11] the mobile phase consisted of 0.01% aqueous formic acid solution (solvent A) and MeOH (solvent B). The use of ACN as organic mobile phase was also considered, nevertheless a negative effect in the ionization was observed, obtaining lower signal intensity than those obtained when MeOH was used. For this reason MeOH was finally chosen. Subsequently, the gradient was studied to get the best separation, peak shape and sensitivity in the shortest time. The MeOH percentage was increased until 95% in order to elute the most retained analytes and other possible components included in the final sample extract.

The use of acid in the mobile phase is required to improve the ionization step in ESI+. Therefore, different acids (formic and acetic acid) were tested. Formic acid provided better results than acetic acid and therefore it was selected for the rest of the experimental work. Different percentages of formic acid were tested, and finally, a 0.01% of this acid, in both the aqueous and organic solvents was selected as it gave the higher signals and the best peak shapes.

The flow rate was studied from 300 to 600 µl min-1 and finally 500 µl min-1 was selected as a compromise between signal, peak shape and run time. The temperature of the column was studied between 20 °C and 30 °C; 25 °C provided the highest peak height with the best resolution and good analysis time. The injection volume was evaluated from 5 to 15 μl, and 10 µl was selected as optimum because higher injection volume decreased the efficiency of the peaks.

After the chromatographic optimization, a study of the ionization source was carried out following the recommendations of the manufacturer: Source temperature was tested between 300 and 600 ºC and 500 ºC was selected as optimum; curtain gas (nitrogen) was studied between 25 and 45 psi and the best results were obtained with 30 psi; ion spray voltage was evaluated from -5000 to -5500 V and finally -5000 V was selected as optimum; and GAS 1 and GAS 2 (both of them nitrogen) were set to 50 psi.

3.2. Optimization of UASEME

There are some factors affecting the extraction process, namely: kind and volume of extraction solvent, kind and concentration of emulsifier, salt addition and pH. The optimization of these parameters was carried out using 4.0 ml of an aqueous standard solution with a concentration of 12.5 µg l-1 of each CRB. In order to induce phase separation between water and organic solvents, it was necessary to add MgSO4 (30% w/v). The recovery was used to evaluate the extraction efficiency.

The selection of an appropriate extraction solvent is very important in UASEME. It must be immiscible with water and provide  the highest extraction efficiency for all the analytes. In this study, extraction solvents with lower density than water (800 µl of toluene, 2- butanone and THF) were studied using 0.15 mM triton X-100 as emulsifier surfactant. The use of pipette tips as extraction vessels (narrower than falcon tubes) together with the use of solvents with lower density than water, allows us a more reproducible collection of the extractan organic phase, due to a more defined meniscus in the upper layer. In most of the cases the best recoveries were obtained with 2-butanone, which yielded the highest average recovery for the CRBs studied.

The nature of surfactant is also of great importance for obtaining a satisfactory extraction. Surfactants act as emulsifier, and can accelerate the emulsification of the water-immiscible extraction solvent into the aqueous solution under ultrasound radiation. After emulsification, the extraction solvent is dispersed as droplets in the sample solution, which are favorable for the mass transfer of the analytes from the aqueous phase to the organic phase. The effect of different non-ionic surfactants as emulsifier (0.15 mM triton X-100, triton X-114 and tween 80) on the extraction recovery was considered. Triton X-114 gave the best results in terms of recovery for the majority of CRBs.

The influence of ionic strength on the performance of this type of UASEME was a key point. A salting-out effect is required for separation between organic solvent and aqueous solution and, as expected, it was observed that with a low salt percentage, the separation was not possible. Moreover, the nature of the salt is also significant in this separation; thus, in order to evaluate this factor, different salts (30% w/v NaCl, (NH4)2SO4, and MgSO4) were tested. Results showed that the best recoveries were obtained when MgSO4 was used.

Under these conditions, a quarter fraction factorial screening design 25-2 plus three central points (11 runs) was subsequently carried out to establish the significant variables involved in the UASEME and to select their final optimum values, taking into account their interactions. The ranges for the different factors studied in this design were as follows: 2-butanone volume (700-1200 µl), concentration of triton X-114 (0.15-0.25 mM), percentage of MgSO4 (20-30%), pH (3.0-8.0), and sonication time (5-15 min). The average recovery for all CRBs was considered as experimental response. The lack-of-fit P-value for the model was 17.2% and the determination coefficient (R2) was 85.4%, showing a satisfactory fit of the experimental data to the predicted model.

The pareto chart obtained from showed that neither the percentage of MgSO4 nor the sonication time were significant for the extraction recovery in the studied experimental range. A possible explanation of the non-significant effect of the percentage of MgSO4 could be that in the studied range (20-30%), the salting out effect was enough to obtain the maximum insolubility between aqueous solution and 2-butanone. Although not significant, a positive effect of this variable was observed in the Pareto chart, therefore the highest percentage of salt (30%) was selected for further experiments. Regarding sonication time, it has been reported in literature that 5 min was enough to obtain satisfactory recoveries, as the recoveries remained almost constant with longer sonication times [22,23]. So, 5 min of sonication time was  the chosen value for this factor.

The effect of sample pH resulted also non-significant for the majority of CRBs; only for ASL, the recovery was slightly better at pH 3 than without pH adjustment, so that the UASEME was carried out without pH adjustment. According to the screening design, the rest of the factors were significant as expected; the volume of extraction solvent was significant, because it is the main factor to obtain a satisfactory recovery. On the other hand, the effect of the triton X-114 concentration was also remarkable, as values above the CMC (0.20 mM for triton X-114) induced a decrease in the extraction efficiency. A possible explanation of this decrease is that a fraction of the CRBs could be incorporated into the already formed micelles, increasing their solubility in the aqueous phase.

Once the significant factors were identified, a subsequent optimization of them was carried out. Thus, extraction solvent volume and emulsifier surfactant concentration were optimized by means of a 32 full factorial design with 3 replicates of the central point. The volume of 2-butanone was studied in the range 700-1300 µl and triton X-114 concentration in the range 0.10-0.20 mM (below the CMC of triton X-114, 0.20 mM). The experiments were run randomly in order to minimize the effect of uncontrolled variables and the average recovery for all CRBs was considered as experimental response. The lack-of-fit P-value for the model was 20.2% and the determination coefficient (R2) was 91.5%, showing a satisfactory fit of the experimental data to the predicted model. The surface response (see Fig.2 (a)) showed that the optimum conditions were 1150 µl for 2-butanone and 0.15 mM for triton X-114, a concentration below its CMC.

Fig. 2 (b) shows the Pareto chart, including the effects of both 2-butanone volume and triton X-114 concentration on the average recovery. As expected, the effect of triton X-114 concentration was not significant in this working range (0.10-0.20 mM), because the CMC of triton X-114 was not exceeded. As a consequence, it was as an emulsion into the aqueous system in the whole range, preventing the solubilization of the CRBs in the aqueous phase.

3.2.1.	Optimization of UASEME for wine samples

Once the UASEME had been optimized with aqueous standard solutions, it was tested with commercially available wine samples. It was observed that with 4 ml of wine (similar to the volume of aqueous standard solution used for the previous optimization) the recoveries were very low. This fact could be explained by the alcohol content of the wine which impaired the effectiveness of the extraction. In order to reduce this effect, it was decided to dilute the sample in the UASEME procedure; thus, different extractions were carried out with 1, 2, 3 and 4 ml of wine, making up to 4 ml with water. It was observed that the higher the dilution, the better the recoveries for all CRBs. Therefore, 1 ml of wine was diluted with 3 ml of water (30% MgSO4, w/v), following the UASEME sample treatment previously described (see Fig. 1).

3.3. Validation of the method

In order to check the suitability of the method for the determination of CRBs in wine samples, it was characterized in terms of linear dynamic ranges, LODs and LOQs, matrix effect evaluation, precision, trueness, and selectivity using white wine (“Chardonnay” variety) as representative matrix.

3.3.1. Calibration curves and analytical performance characteristics of the method

Matrix-matched calibration curves were established using white wine extracts subsequently spiked with different analyte concentrations (1, 5, 10, 20, 50 and 100 µg l-1 for each CRB). Each compound was analyzed in MRM mode, selecting the two highest precursor ion/product ion transitions, which in conjuntion with retention times, were used to ensure adequate analyte identification, according to SANCO guideline []. Each concentration level was processed following the UASEME method and analyzed in triplicate.

LODs and LOQs were provided by the software Analyst, as 3×S/N and 10×S/N, respectively. Statistics and performance characteristics of the method in white wine are shown in Table 1.  As already commented in the introduction, MRLs for CRBs in wine matrices have not been established yet; so in Table 1 the MRLs for wine grape and the default MRL value established when the matrix is not legislated are summarized, as reference values. As can be seen, good LOQs were obtained for all the analytes, being lower than the default MRL. Therefore, the proposed method is adequate for the determination of very low levels of these contaminants in the selected matrix. Compared to other reported methods for the determination of CRBs in wine samples [10,11], the proposed UHPLC method provides similar LOQs. However it allows the determination of a higher number of compounds in a shorter analysis time.

3.3.2. Quantitative matrix effect evaluation

Matrix effects (MEs) were evaluated by comparison of the slopes of matrix-matched calibration curves with the slopes of standard solution calibration curves at the same final concentration, using the following equation:

ME %=Slope of matrix-matched curveSlope of standard solution curve-1X 100

Fig. 3 shows the ME values for all CRBs analyzed by UASEME-UHPLC-MS/MS method. As can be observed, MEs for all analytes were very soft, with values from -0.5% for ETHSFX to -17.4% in the case of FEN.

3.3.3. Precision study

The precision of the method was evaluated in terms of repeatability (intraday precision) and intermediate precision (interday precision) by application of the proposed UASEME–UHPLC-MS/MS method in white wine samples spiked at three different concentration levels of CRBs. Repeatability was evaluated over five samples prepared and injected in triplicate on the same day, under the same conditions. Intermediate precision was evaluated with a similar procedure, but the samples were analyzed in five consecutive days. The results, expressed as %RSD of the peak areas, are summarized in Table 2. Good precision, lower than 6%, was obtained in all cases. Thus, the results obtained with the proposed method could be considered in agreement with the current demand [26,].

3.3.4. Trueness assessment

In order to check the trueness of the proposed methodology, recovery experiments were carried out in different types of wine samples obtained from local markets (“Chardonnay” and “Ribeiro” white wines, “Tempranillo” sparkling rose wine, and “Lambrusco” rose wine) spiked at three different concentration levels of each CRBs. Each sample was analyzed in triplicate and injected five times. In all the cases, a blank sample was analyzed to check the presence of CRBs; none of them gave a result above the LODs of the method.

The results are summarized in Table 3, as can be observed recoveries between 75 and 103% were obtained, with satisfactory, fulfilling the requirements of current legislation about analytical performance, which establishes that the recovery must be between 70 to 120% [26,27].

A typical extracted ion chromatogram corresponding to a “Chardonnay” white wine sample spiked with 5 µg l-1 for each CRB, and analyzed by the proposed UASEME–UHPLC–MS/MS method is shown in Figure 4.

3.3.5.	Selectivity

The confirmation of CRBs was carried out according to European guidelines for determination of pesticides residues [26,27], which establishes a tolerance level for the relative intensity between Q and I MRM transitions in real samples, when compared with the relative intensity of the same transitions obtained with standard solutions. This tolerance value depends on the ratio Q/I value obtained from a standard solution (see supplementary data). In supplementary data is showed the Q/I ratios obtained from a spiked wine sample (5 µg l-1 for each CRB), and from a standard solution (10 µg l-1); as can be seen in all cases Q/I ratios in sample were within the tolerance range for relative ion intensities indicated in the current European guidelines [26,27]. The same conclusions were obtained for the other wines included in this study. Thus, considering these results along with values obtained in the ME evaluation, it can be concluded that no significant interferences from the wine matrices tested affected the analytical response.

4. Conclusions

A new multiresidue UHPLC-MS/MS method has been developed for the simultaneous determination of twenty five CRBs in wine samples. UASEME using an extraction solvent with a lower density than water, has been optimized in order to obtain satisfactory recoveries for all analytes. The results in terms of analysis time, sensitivity, selectivity, precision, cleanliness of extracts and matrix effects showed the suitability of this procedure for the monitoring of the CRB residues in different kinds of wines in a single run. To the best of our knowledge, this is the first UASEME-UHPLC-MS/MS method described for CRBs using this type of organic solvent, and analyzing simultaneously such a high number of compounds. Applying this method, and considering the short analysis time in UHPLC, a high sample throughput can be achieved (less than 20 min, including sample preparation and determination). This procedure is time is shorter than other methods, such as HPLC-MS or GC-MS, and therefore of  useful in pesticide monitoring programs with a large number of samples to analyze. Moreover, taking into account the lower consumption of solvents required in UHPLC, and the absence of organic disperser solvents in the UASEME procedure, the proposed method could be considered as an environmentally friendly strategy for the monitoring of a high number of CRBs. Moreover,  some metabolites of CRBs, which have been scarcely studied in wine samples, have been included in this study.

Figure captions

Fig. 1. Diagram of the proposed UASEME procedure.

Fig. 2. (a) Estimated response surface obtained in the optimization of the extraction solvent volume and surfactant concentration using a 32 full factorial design; (b) Standardized Pareto chart for average Recovery (%) (yellow: positive effects; red: negative effects).

Fig. 3. Matrix effect (%) for CRBs in white wine.

Fig. 4. Extracted ion chromatogram of a spiked “Chardonnay” white wine sample applying the proposed UASEME–UHPLC-MS/MS method (5 µg l-1 for each CRB).

References

[]	Y. Ni, P. Qiu, S. Kokot, Anal. Chim. Acta 537 (2005) 321.

[] M. Bjørling-Poulsen , H.R. Andersen , P.  Grandjean, Environ. Health 7 (2008) 50.

[] A. Thompson, Pestic. Outlook 13 (2002) 84.

[] D.F. Rawn, V. Roscoe, T. Krakalovich, C. Hanson, Food Addit. Contam. 6 (2004) 555.

[] Regulation (EC) No. 396/2005 of the European Parliament and of the Council on maximum residue levels of pesticides in or on food and feed of plant and animal origin and amending Council Directive 91/414/EEC. Official Journal of the European Communities, No. L 70, 16 March 2005, pp. 1–16

[] Regulation (EC) No 149/2008 amending Regulation (EC) No. 396/2005 of the European Parliament and of the Council by establishing Annexes II, III and IV setting maximum residue levels for products covered by Annex I thereto. Official Journal of the European Communities, No. L 58, 1 March 2008, pp. 1–398.

[] http://www.crlpesticides.eu/docs/public/tmplt_article.asp?CntID=661&LabID=100&Lang=EN. RASFF-Notifications.

[] http://www.oiv.int/oiv/info/ennoteconjoncture2012.

[] Y. Jiang, X. Li, J. Xu, C. Pan, J. Zhang, W. Niu, Food Addit. Contam. 26 (2009) 859.

[] S.H. Patil, K. Banerjee, S. Dasgupta, D.P. Oulkar, S.B. Patil, M.R. Jadhav, R.H. Savant, P.G. Adsule, M.B. Deshmukh, J. Chromatogr. A 1216 (2009) 2307.

[] S. Walorczyk, D. Drożdżyński, B. Gnusowski, Talanta 85 (2011) 1856.

[] A. Economou, H. Botitsi, S. Antoniou, D. Tsipi, J. Chromatogr. A 1216 (2009) 5856.

[] M. Moeder, C. Bauer, P. Popp, M. van Pinxteren, Anal. Bioanal. Chem. 403 (2012) 1731.

[] T. Goto, Y. Ito, H. Oka, I. Saito, H. Matsumoto, H. Sugiyama, C. Ohkubo, H. Nakazawa, H. Nasage, Anal. Chim. Acta 531 (2005) 79.

[] Q.B. Lin, Y.Y. Xue, H. Song, J. Chromatogr. Sci. 48 (2010) 7.

[] J. Wang, W. Schnute,  Quantitative Determination of Ultratrace Level N-Methyl Carbamates in Rice Samples by Accelerated Solvent Extraction (ASE) and Ultrahigh Performance Liquid Chromatography Tandem Mass Spectrometry (UHPLC-MS/MS). Technical Sheet from Thermo Fisher Scientific (2011).

[] R. Rial-Otero, B. Cancho-Grande, J. Simal Gándara, J. Chromatogr. A 992 (2003) 121.

[] A. Santalad, R. Burakham, S. Srijaranai, R.L. Deming, J. Chromatogr. Sci. 50 (2012) 523.

[] L.M Ravelo-Pérez, J. Hernández-Borges, T.M. Borges-Miquel, M.A. Rodríguez-Delgado, Electrophoresis 28 (2007) 4072.

[] L.M Ravelo-Pérez, J. Hernández-Borges, A.V. Herrera-Herrera, M.A. Rodríguez-Delgado, Anal. Bioanal. Chem. 395 (2009) 2387.

[] J. Regueiro, M. Llompart, C. García-Jares, J.C. García-Monteagudo, R. Cela, J. Chromatogr. A 1190 (2008) 27.

[] M.M. Delgado-Povedano, M.D. Luque de Castro, TrAC Trends Anal. Chem. 45 (2013) 1.

[] M. Khoobdel, M. Shayeghi, S. Golsorkhi, M. Abtahi, H. Vatandoost, H. Zeraatii, S. Bazrafka,              Iran J. Arthropod. Borne Dis. 4 (2010) 47.

[] Q. Wu, Q. Chang, C. Wu, H. Rao, X. Zeng, C. Wang, Z. Wang, J. Chromatogr. A 1217 (2010) 1773.

[] J. Vichapong, R. Burakham, Anal. Methods 4 (2012) 2101.

[] EFSA Journal 10 (2012) 2799.

[] E. Mallar, D. Barceló, R. Tauler, Chromatographia 46 (1997) 342.

[] Method validation and quality control procedures for pesticide residues analysis in food and feed. European Commission 2011, SANCO/12495/2011.

[] European Union Commission Decision 2002/657/EC of 12 of August 2002  implementing Council Directive 96/23/EC concerning the performance of analytical methods and the interpretation of results. Official Journal of the European Communities, No. L 221, 12 August 2002, pp. 8–36.

| Table 1. Statistics and performance characteristics of the UASEME-UHPLC-MS/MS method for the analysis of CRBs in white wine. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Linear dynamic range (µg l-1) | R2 (%) | LOD (µg l-1) | LOQ (µg l-1) | MRLa (µg kg-1) | MRLb (µg kg-1) |
| ASL | 0.92-100 | 99.5 | 0.31 | 0.92 | 10 | 500 |
| ALDSFX | 0.61-100 | 99.6 | 0.21 | 0.61 | 10 | 20 |
| ALDSFN | 0.51-100 | 99.7 | 0.15 | 0.51 | 10 | 20 |
| OX | 0.42-100 | 99.8 | 0.12 | 0.42 | 10 | 10 |
| MTY | 0.31-100 | 99.8 | 0.11 | 0.31 | 10 | 500 |
| ETHSFN | 0.21-100 | 99.9 | 0.06 | 0.21 | 10 | Not established |
| PIRDES | 0.15-100 | 99.8 | 0.04 | 0.15 | 10 | 1000 |
| ETHSFX | 0.24-100 | 99.7 | 0.07 | 0.24 | 10 | Not established |
| MTHSFX | 0.55-100 | 99.9 | 0.16 | 0.55 | 10 | 300 |
| 3-CF | 0.23-100 | 99.8 | 0.07 | 0.23 | 10 | 20 |
| CY | 0.41-100 | 99.9 | 0.12 | 0.41 | 10 | 200 |
| ALD | 0.33-100 | 99.8 | 0.10 | 0.33 | 10 | 20 |
| METOL | 0.33-100 | 99.6 | 0.10 | 0.33 | 10 | Not established |
| PX | 0.37-100 | 99.8 | 0.11 | 0.37 | 10 | 50 |
| CF | 0.40-100 | 99.7 | 0.08 | 0.28 | 10 | 20 |
| CAR | 0.38-100 | 99.7 | 0.11 | 0.38 | 10 | 50 |
| ETH | 0.41-100 | 99.8 | 0.12 | 0.41 | 10 | Not established |
| TH | 0.50-100 | 99.7 | 0.15 | 0.50 | 10 | 500 |
| ISO | 0.40-100 | 99.5 | 0.12 | 0.40 | 10 | Not established |
| FEN | 0.21-100 | 99.6 | 0.06 | 0.21 | 10 | 1000 |
| DETH | 0.26-100 | 99.4 | 0.08 | 0.26 | 10 | 1000 |
| MTH | 0.20-100 | 99.6 | 0.06 | 0.20 | 10 | 300 |
| PR | 0.19-100 | 99.5 | 0.06 | 0.19 | 10 | 50 |
| NP | 0.26-100 | 99.7 | 0.08 | 0.26 | 10 | 100 |
| BTH | 0.16-100 | 99.8 | 0.05 | 0.16 | 10 | Not established |
| a Default MRL value. b MRL for wine grapes. |  |  |  |  |  |  |

| Table 2. Intraday and interday precision expressed as RSD (%) for white wine samples (n=15). |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Intraday precision a |  |  |  | Interday precision a |  |  |
|  | Level 1 | Level 2 | Level 3 |  | Level 1 | Level 2 | Level 3 |
| ASL | 3.8 | 2.4 | 2.6 |  | 4.2 | 3.2 | 3.0 |
| ALDSFX | 2.4 | 2.0 | 1.9 |  | 3.0 | 2.3 | 2.7 |
| ALDSFN | 3.6 | 5.5 | 3.5 |  | 5.5 | 6.1 | 5.1 |
| OX | 3.9 | 3.1 | 2.5 |  | 4.4 | 3.5 | 2.8 |
| MTY | 2.8 | 3.1 | 2.7 |  | 3.6 | 3.6 | 3.2 |
| ETHSFN | 3.0 | 1.9 | 2.8 |  | 3.5 | 2.3 | 2.9 |
| PIRDES | 2.8 | 2.1 | 2.2 |  | 3.3 | 2.6 | 2.6 |
| ETHSFX | 2.0 | 1.2 | 1.0 |  | 2.5 | 1.7 | 1.9 |
| MTHSFX | 2.9 | 1.5 | 2.3 |  | 3.5 | 2.0 | 2.8 |
| 3-CF | 2.6 | 2.5 | 2.9 |  | 3.0 | 3.3 | 3.2 |
| CY | 2.6 | 2.4 | 2.4 |  | 2.9 | 2.9 | 2.8 |
| ALD | 2.4 | 1.9 | 2.6 |  | 3.0 | 2.3 | 3.0 |
| METOL | 3.2 | 1.1 | 2.5 |  | 3.8 | 1.4 | 3.3 |
| PX | 2.7 | 2.2 | 1.9 |  | 3.6 | 2.7 | 2.4 |
| CF | 3.2 | 2.0 | 2.5 |  | 3.5 | 2.3 | 3.0 |
| CAR | 3.5 | 2.4 | 3.8 |  | 4.3 | 2.9 | 4.6 |
| ETH | 3.6 | 2.4 | 1.8 |  | 4.2 | 2.8 | 2.1 |
| TH | 3.2 | 2.1 | 2.1 |  | 3.7 | 2.4 | 2.7 |
| ISO | 4.1 | 2.2 | 2.0 |  | 4.7 | 2.8 | 2.4 |
| FEN | 3.7 | 2.1 | 2.3 |  | 4.1 | 2.6 | 3.1 |
| DETH | 4.1 | 2.4 | 2.2 |  | 4.5 | 2.9 | 2.6 |
| MTH | 4.2 | 2.5 | 2.2 |  | 4.8 | 3.1 | 2.8 |
| PR | 1.8 | 2.3 | 3.4 |  | 2.1 | 2.9 | 4.2 |
| NP | 2.8 | 2.7 | 5.2 |  | 3.4 | 3.5 | 5.7 |
| BTH | 2.7 | 3.1 | 2.8 |  | 3.2 | 3.4 | 3.2 |
| a level 1=5 µg l-1, level 2=10 µg l-1 and level 3=50 µg l-1. |  |  |  |  |  |  |  |

| Table 3. Range of recovery study and RSD for wine studied (n=15). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Level 1a |  | Level 2a |  | Level 3a |  |
|  | R (%) | RSD (%) | R (%) | RSD (%) | R (%) | RSD (%) |
| “Chardonnay” white wine | 75.1-103.1 | 1.8-4.1 | 76.0-97.8 | 1.1-5.5 | 79.4-101.1 | 1.1-5.2 |
| “Tempranillo” sparkling rose wine | 79.1-98.2 | 1.6-3.8 | 81.1-99.4 | 1.8-3.0 | 83.3-101.5 | 1.0-3.6 |
| “Lambrusco” rose wine | 74.8-97.3 | 2.3-4.0 | 77.1-99.0 | 2.1-3.9 | 80.3-97.1 | 1.7-3.0 |
| “Ribeiro” white wine | 77.4-95.9 | 2.1-3.6 | 77.5-96.9 | 1.9-2.9 | 81.1-96.8 | 1.2-3.2 |
| a level 1=5 µg l-1, level 2=10 µg l-1 and level 3=50 µg l-1. |  |  |  |  |  |  |